POLICY:	EQUIPMENT MANAGEMENT

PROCEDURES:

EQUIPMENT ACQUISITION

- Equipment and furnishings purchase orders or requests are submitted to the CEO. The CEO will confer with the Safety Officer and Infection Control Coordinator for product evaluation before authorizing purchase.  The CEO shall maintain a binder of these product evaluations for at least three years beyond the purchase date.

- Equipment used for consumer care, consumer and staff safety, or is of major cost will be identified on the Equipment Maintenance Log.  Examples of equipment to include are:

- Blood pressure cuffs

- Copiers

- Computers

- Fire extinguishers

- Phones

- Desks and chairs

- Medical Equipment:  (e.g., otoscope, centrifuge, electronic thermometers, glucometer) purchases will, when possible, include a service contract.  This contract will provide repair or replacement in the event that the equipment malfunctions.

MAINTENANCE AND INSPECTION

- Equipment will be inspected and receive preventive maintenance as scheduled.

- The CEO or designee will record such inspection and maintenance on the Equipment Maintenance Log form and inform the Safety Officer if inspections or maintenance are not occurring as scheduled.

EQUIPMENT TAGGING AND INSPECTION

- Equipment will be tagged and inspected before it is put into use.

          - No personal electrical equipment will be allowed unless inspected and approved by the Safety Officer or designee.

          - All items will be U.L. listed, and –equipped with a three prong grounding type plug or be double insulated, and comply with the NFPA Regulations.

          - Permission from the Safety Officer must be obtained before the personal electrical appliances may be used in areas not intended for normal consumer activity (lounges, offices, etc.) in accordance with the NFPA Regulations.

      - Tagging of equipment is done when equipment is received at QBH. Items requiring assembly will be tagged upon completion.

      - The Safety Officer or designee will tag and inspect all equipment.  Records are kept on the Equipment Tagging and Inspection Log and filed in the Finance Department with a copy in the EOC Manual.

      - Individuals purchasing and receiving equipment through their departments are to contact the Safety Officer to inspect and tag items before they are put into use. Attached labels will have the date of inspection.

      - All equipment will be inspected no less than once yearly and inspection dates on labels attached accordingly.

Staff’s Equipment

      - Organization staff that brings in any type of electric appliance should contact the Safety Officer to inspect and tag items brought in before being put into use.

      - A maintenance Request should be filled out by the staff member and sent to the Finance Department.

      - Problems or malfunctions will be responded to as soon as possible within 24 hours.  The CEO will make arrangements if outside vendor/contractor assistance is required.

      - The Safety Officer will prioritize maintenance requests in the order of importance.

Maintenance of Equipment

- All staff is trained to monitor for appliance condition anytime they put it to use.  Particular attention should be given to identification and prompt reporting of:

- Frayed or worn electric cords.

- Electrical shorts.

- Weak connection to outlets.

- Unusual sounds or performance during operation.

- Equipment condition will also be monitored by the Safety Officer or designee:

        - During scheduled safety surveillance.

        - During scheduled maintenance activities.

        - Anytime a staff member submits a maintenance request.

        - Extension cords and multiple outlet strips shall be considered part of the distribution systems and will be inspected annually (once a year every twelve months plus or minus 30 days).

        - Housekeeping equipment and appliances will be inspected annually (once yearly every twelve months plus or minus thirty days).

        - Dietary equipment will be inspected weekly.

        - All therapeutic and diagnostic equipment will be inspected on an annual basis.

Damaged/Malfunctioning Equipment or Furniture

- Electrical Cords

- If electrical equipment is not working properly make sure plug is unplugged, tag item OUT OF SERVICE (See Lock-out/Tag-out Policy), and report problem to Supervisor.

- Electrical Fixtures

- Lights, fans, not working correctly turn switch off, tag OUT OF SERVICE.  Report problems to the Supervisor.

- Supervisor will assess problem and contact Safety Officer.

- All Other Electrical Problems

    - Supervisor should be informed immediately.  Supervisor will turn off and tag switch if necessary, switch circuit breaker to off position and tag or cut-off all power and lock and tag until maintenance arrives or Administration is notified and electrical contractor arrives to repair.  After repair the Supervisor may remove lock and tag.

- Water System

- With any problem with water, valves should be turned off and tagged.  Supervisor will be notified.

- Safety Officer will be called.

        - Safety Officer or designee will make sure valves are turned off and tagged, faucets are bled and tagged, water heaters are turned off, bled and tagged.

        - Maintenance will do repairs or contractor will be called to do repair.

    - Signs are to be posted where there are appliances warning of their danger.  If there is a problem the plug is to be pulled and the problem reported to the Supervisor in writing.  Item should be tagged OUT OF ORDER.

    - A staff member, upon observing machinery or a piece of equipment which is locked-out to perform servicing or maintenance, shall not attempt to start, energize, or use that machinery or equipment.

    - When the servicing or maintenance is completed and the machinery or equipment is ready, the Safety Officer will notify affected staff that the machinery or equipment is ready for use.

    - The Safety Officer or designee will remove the lockout devices and re-energize the machinery or equipment.

    - The Safety Officer will record repairs and replacement of equipment on the Equipment Maintenance Log.

- Furnishings

    - Furniture in need or repair or cleaning will be reported via a “maintenance request form” to the Safety Officer.

    - Safety Officer will inform submitter of completion within two weeks.  If request is unable to be addressed within the two-week time frame, Safety Officer will inform submitter of anticipated time frame for correction.

        - If necessary, the Safety Officer will contact an outside vendor and three bids will be obtained for needed services.

        - Bids will receive final approval from the Leadership Committee.

        - Safety Officer will contact vendor to make appropriate repairs.

Safe Use of Furniture

- Staff will supervise any moving of large furniture items by consumers.

- Staff is to observe for use of proper body mechanics in lifting or moving of furniture to prevent and/or reduce back or strain injuries.

- Major furniture moves should have approval of CEO who will consider the need for additional assistance to provide adequate safety measures.

- Staff should check furniture for repair needs monthly.

User Education

- Education on the use of equipment will be provided if needed and be documented in the staff member’s personnel file.

Equipment Maintenance Log

- The log is to be kept by the Safety Officer.

- The log will be reviewed annually by the Safety Officer for trends or patterns that may indicate areas for improvement or problem solving.  The results of this review will be reported to the Clinical Committee.

EVALUATION:

- The Safety Officer will complete a plan evaluation annually. The evaluation will include appropriateness of the defined scope, whether objectives were achieved, performance data, the effectiveness of the plan in reducing/preventing risks and events, and any changes in regulatory and accreditation requirements.

- The Safety Officer will review and revise the plan annually (once a year, every twelve months plus or minus thirty days) and submit for approval the Clinical Committee (CC).

- The CC will review, approve, and submit the Equipment Management Plan to the Board of Directors annually for approval.

RELATED POLICIES/FORMS:

Lock-out/Tag-out Policy

Equipment Maintenance Log

Equipment Tagging and Inspection Log

Approved:

________________________________________	___________________________

Governing Board Chair					Date

________________________________________	___________________________

Clinical Committee Chair				Date

________________________________________	___________________________

Safety Officer						Date