# FIRE EXTINGUISHER TESTING

# PURPOSE:

Quality behavioral Health (QBH) provides for patient and staff safety by establishing mechanisms to minimize risk.

# PROCEDURES:

- The Safety Officer or designee, shall inspect each portable fire extinguisher on a monthly basis and document findings on the Maintenance Log (available from the Office Manager or from the Administrative Assistant..

- To inspect fire extinguisher, visually assess that: 1) the pin is secure and has not been removed; 2) that the extinguisher is fully charged (arrow is in the green); 3) that the hose is not damaged and is in good shape; 4) that the extinguisher is properly mounted; 5) that the instructions are legible; and 6) there is evidence/documentation that the annual external maintenance has been done.

- The annual inspection and maintenance will be performed by a licensed professionally qualified technician. A contract should be initiated with the nearest Fire Equipment Company to inspect and recharge, if necessary.

- Any discharged fire extinguishers must be recharged as soon as possible	after discharge, if it is a rechargeable type. It the extinguisher is a disposable unit it should be discarded and replaced immediately.

- In extreme instances the local Fire Chief may do the annual inspection of any portable fire extinguishers and record the inspection on the attached inspection tag.

- Inspection and Maintenance tags for fire extinguishers can be obtained from any Fire Equipment Company.  Alternatively an Inspection and Maintenance Log (must be posted near each extinguisher) is kept and documented by the Fire Equipment Company.

- The monthly inspections by the Safety Officer shall be documented and a copy sent to the Administrative Assistant at the end of each month. The original shall be retained by the Safety Officer for a three year period.

- The annual inspection by an outside qualified technician shall be scheduled by the Office Manager. The Office Manager shall confer with the Safety Officer to establish the source for this inspection/tagging/maintenance. The original annual inspection report shall be sent to the Office manager and a copy retained by the Safety Officer for three years.

# EVALUATION:

- The Safety Officer shall review and, if needed, revise this policy tri-annually and 	submit to the Clinical Committee for approval.

# RELATED POLICIES/FORMS:

# Maintenance Log

Fire Inspection/Maintenance Tags and/or Inspection and Maintenance Logs