POLICY:		EMERGENCY/FIRE DRILL POLICY

PURPOSE:

To provide a safe environment for consumer and staff by conducting emergency and fire drills as scheduled to train staff in proper safe handling of fires and emergencies.

To provide training for staff in conducting safe and timely evacuations.

PROCEDURES:

FIRE DRILLS

- The Safety Officer is responsible for conducting all emergency drills.

- Drills in all areas will be conducted at least annually for the facilities are in use.

- At least 50% of all fire drills will include evacuation of consumers, visitors, and staff; everyone in the facility must participate in each drill. All drills should be unannounced.

- The scenario for the location and size of the fire, and the times conducted, should be varied.

- The pull station should be used occasionally to simulate a real fire; however, the Fire Department and alarm company must be notified prior to the drill to prevent paying for a false alarm to the Fire Department.

- Periodically, place the mock fire near an exit, thus blocking one exit to cause use of alternate exits.

Action at the Site of the Fire:

- If a fire is detected, or drill instigated, the person discovering the fire will:

- Alert occupants in the immediate area who are in danger due to fire or smoke. (If wanting to prevent alarming excitable consumer, the organization code word of "Code Red" may be used to alert staff members to the presence of a fire.)

- Use the nearest pull station to sound the fire alarm. If no pull station is available, use a verbal

alert.

Away from the Site of the Fire

- Staff responsibilities when the fire alarm or verbal alert is sounded:

- If a fire alarm or alert is sounded while consumer and/or visitors are present, the staff escorting them or the staff present will be responsible for supervision and evacuation of all occupants.

      - Immediately hang up all phones and leave the phone lines open.

      - Close any windows.

      - Move consumers and charts to the nearest emergency exit.

      - Determine if anyone is absent. (For medical records evacuation, see Emergency Preparedness Plan). Do not evacuate unless there is immediate danger from fire or smoke, or if so instructed by the Administrator in charge. When instructed, evacuate to the designated area.

- The designated areas by site are:

- At the back of the parking lot.

      - Use posted evacuation routes and always move away from the location of the fire. Each staff member will have a piece of chalk in his/her desk. As they evacuate their work area, each staff member shall close and mark the door with a check mark designating that the office or room is secure.

      - Designated staff in each area of the facility will double check bathrooms, offices, and all other areas to monitor that all building occupants have been evacuated. They will turn out lights and close doors behind them, marking doors as they secure the area.

      - Remain calm. Smoke rises, so stay low. Always feel doors before opening them, and if they are hot, use an alternate route.

      - Staff that evacuates the building with no identified patient responsibility will report to their supervisor for roll call and duty assignment. Congregate in the designated area, leaving driveways and alleys free for the approach of emergency vehicles.

      - In the event of an actual fire, no staff or consumer shall re-enter the building until authorized by the Fire Department. NOTE: THE FIRE DEPARTMENT WILL TAKE CHARGE UPON ARRIVAL!

      - Drills taking over two (2) minutes must be explained on the comment section of the Fire Drill Report. A reasonable amount of time to properly conduct a fire drill will be between 1.5 minutes and 2 minutes.

      - Times less than 1.5 minutes (90 seconds) are almost impossible, if the drill is conducted properly.

      - Drills should be taken seriously and conducted in the proper manner in order to keep staff and consumer sharp and safe.

      - Drill times of less than 1 minute will cause the drill to be questioned by any reporting agency.

OTHER EMERGENCY DRILLS

- For all other types of emergency drills and evacuation procedures, refer to the Emergency Preparedness Plan for conducting drills and evacuations.

EVALUATION:

- The Safety Officer will review policies and procedures annually (once a year, every twelve months plus or minus thirty days) and make revisions when needed. Any revisions made will be submitted to the Clinical Committee for approval.

RELATED POLICIES/FORMS:

Emergency Preparedness Plan

Life Safety (Fire) Policy

Fire Drill Form

Emergency Drill Form

Incident Report Form and Policy

Safety Inspection Checklist