POLICY:	INTERIM LIFE SAFETY MEASURES (ISLM)

Quality Behavioral Health (QBH) will provide a safe environment for consumers, staff, visitors, and property.

PURPOSE:

To establish measure to temporarily compensate for the potential Life Safety hazards that could occur from construction activities.

PROCEDURES:

  - In the event of construction or remodeling activities, the following measures will be

implemented as deem appropriate to the situation:

    - Determination will be made at on-set of project of feasibility for population

relocation based on risk factors and space availability.

    - Exits are to provide for free and unobstructed egress.  Staff will receive

training if alternative exits are designated. Areas under construction must

maintain escape routes for construction workers at all times. Means of egress

in construction areas must be inspected daily.

    - Unobstructed access to external emergency service resources.

    - Additional fire-fighting equipment and training of staff in its use.

    - No smoking within twenty-five feet of any entrance or exit of QBH

buildings or and/or construction areas.

    - Develop and enforce storage, housekeeping, and debris-removal practices to

reduce fire hazard to lowest level possible.

    - Increase fire drills to two per shift per quarter.

    - Increase hazardous surveillance of buildings, grounds, and equipment

especially near excavations, construction areas, construction storage, and field

offices.

    - Train staff to compensate for impaired structural or compartmentalization

features of fire safety.

    - Further educate staff on Life Safety Code deficiencies, construction hazards,

and interim life safety measures.

  - The Safety Officer and CEO or designee will determine which of the above

measures will need to be implemented for the immediate situation.

  - The Safety Officer will monitor and document compliance with the implemented

measures on the ISLM Evaluation Form and report to the Clinical Committee (CC).

  - Any construction activity blocking an important egress which would compromise

patient or staff evacuation that would be blocked for more than 24 hours will

require implementation of these ISLM and notification of local fire officials by the

Safety Officer or CEO/ designee.

  - The Safety Officer will train all staff on this policy annually and all staff will be

trained upon hire by the Safety Officer during orientation.

EVALUATION:

The Safety Officer will review this policy and procedures tri-annually and make revisions when necessary; they will be submitted to the CC for approval.

RELATED FORMS/POLICIES:

ISLM Evaluation Form

Life Safety Plan

Smoking Policy

Housekeeping Policy