POLICY:	LIFE SAFETY (FIRE) PLAN

Quality Behavioral Health (QBH) has designed a plan to provide a safe environment for consumers, staff, and visitors and to safeguard facility property in the event of a fire. It is the responsibility of all staff to help maintain a hazard-free environment and to be part of the team in preventing or responding in an organized manner to a facility fire.

PURPOSE:

  - To comply with state and local fire codes and to maintain an annual inspection record with evidence or problem correction.

  - To schedule and conduct fire drills on a monthly basis (one time per each month); evaluate each occurrence for identification of problems and opportunities for improvement.

  - To complete all sections of fire drill analysis monthly.

  - To conduct fire hazard inspection surveillance tours semi-annually.

  - To conduct scheduled inspection and testing and annual maintenance of fire protection equipment. Inspections will include monthly testing of lighted exit signs and emergency lighting.

  - To assess situations where construction may pose fire prevention and evacuation problems. (See Interim Life Safety Measures Policy).

  - To maintain a smoke-free facility.

  - To educate staff about fire prevention awareness and the procedure for responding to fire drills or actual occurrences in the new staff orientation program with annual updates.

  - To oversee that all consumers, visitors and staff are accounted for.

  - To assess fire extinguishers, emergency lighting, obstruction of sprinkler heads, if critical supplies, equipment and current documentation that has not been received by the Home Office was safely removed if possible.

  - To assign job duties during fire drills.

  - To evaluate the plan objectives annually (every 12 months) including:  scope, performance, and effectiveness.

  - The consultant will be responsible for assessing any new office buildings and completing the E-SOC.  The E-SOC will be turned into the Chief Compliance Officer after completion.  Regional Clinical/Administrative Managers will be responsible for submitting bids and turning the bids in to the CEO for resolution of deficiencies.

EMERGENCY PROCEDURES:

  - Mitigation

    - All staff members are to assist in providing for the safety of all consumers, staff, and visitors by following the direction of the Charge person. (NOTE: FIRE DEPARTMENT WILL TAKE CHARGE UPON ARRIVAL)

      - Staff #1- the person noting the fire will alert other staff and assign duties to other staff. Duties will include:

        - Someone to call 911 and report the fire;

        - Checking all rooms and evacuating consumers, visitors, families, etc.;

        - Closing doors after room search is completed.

      - Accounting for safety of consumers, staff, families, etc. that have been evacuated.

      - Shutting off gas lines if applicable.

      - Staff nearest the fire extinguishers is to grab them and carry them with them when doing room checks.

    - During any remodeling or construction that increases fire risk or impedes usual evacuation egress, Interim Life Safety Measures are initiated.

  - Preparedness:

    - Training: Staff is required to review the Life Safety (Fire) Plan at orientation and annually (every 12 months) and to participate in hands-on training and practice in the use of fire extinguishers, and first-aid procedures.

    - Fire drills and evaluations are the responsibility of the Office Manager and will be held monthly. Drills should vary in time, fire situation, and numbers of consumers/staff present.

  - Response/Plan Activation

    - If a fire is detected, initiate:

R - Rescue consumers, visitors, and staff

A - Alert others of fire and call the Fire Department at 911

C - Contain the fire and smoke

E - Extinguish the fire

    - All staff will assist to provide for the safety of all consumers, staff, and visitors by evacuating. (NOTE: FIRE DEPARTMENT WILL TAKE CHARGE UPON ARRIVAL.) Fire Department will determine when an all-clear return to the building can occur.

    - When a fire alert occurs, all staff is to:

      - Immediately hang up all phones and leave phone lines open.

      - Close all doors to contain smoke and turn off the lights.

      - Move consumers and charts (if possible) to the nearest evacuation exit.

      - Be prepared for evacuation but do not evacuate unless there is immediate danger from fire or smoke.

      - Fire extinguishers should only be used if it is possible to do so without excessive personal risk.

    - Evacuation:

      - When evacuating, use posted evacuation routes and always move away from the location of the fire.

      - Remain calm. Smoke rises so stay low. Always feel doors before opening them, and if they are hot, use an alternate route.

  - Recovery:

    - Following any fire, an Incident Report will be filed within 24 hours of the occurrence by the supervisor or staff who first saw the fire.

    - The Office Manager will complete a Fire/Disaster Drill Report Form indicating any problems identified and corrective actions taken. Forms are to be sent to the Home Office where it will be directed to the Safety Officer for review.

    - The Safety Officer will review drill reports and investigate, if necessary.  Reports will be made to the Oversight of Operations and Performance Committee (OOPC) periodically throughout the year.

- RESPONSIBILITY AND REPORTING:

  - All management staff will have overall responsibility for the implementation of the plan. The Safety Officer will review effectiveness of the plan and report compliance with plan objectives and performance standards to the OOPC.

- PLAN EVALUATION:

  - The Life Safety (Fire) Plan is reviewed and revised annually by the Safety Officer and    approved by the Clinical Committee.

  - Performance Standards will be designed to measure the effectiveness of the plan.

    - Staff demonstrates knowledge of Life Safety (Fire) Plan procedures and the ability to

assume leadership in an emergency situation as evidenced by post-tests, answers to         verbal questions, and/or by performance evaluated during drills.

    - Briefing will occur in the event of an actual fire/emergency with the OOPC.

- PERFORMANCE STANDARDS:

  - 100% of Staff will be annually tested on the knowledge of Environment of Care which will cover Life Safety (Fire) Plan.

  - Knowledge of Environment of Care will be indicated with a minimum overall test average of 90%.

RELATED FORMS/POLICIES:

Fire/ Emergency Drill Form

Interim Life Safety Measures Policy

Approved:

________________________________________	___________________________

Governing Board Chair					Date

________________________________________	___________________________

Clinical Committee Chair				Date

________________________________________	___________________________

Safety Officer						Date