POLICY:    LOCK-OUT/TAG-OUT

It is the policy of the Pronghorn Psychiatry to provide a safe environment for staff and patients when equipment servicing and repair are underway.

PROCEDURES:

- Appliances/equipment that is unserviceable will be removed to the appropriate storage until they can be replaced or repaired. Equipment or appliances too large to move will have a lockout device such as a tag or lock with a sign affixed to the disconnect switch on a machine or piece of equipment that is to be serviced or is malfunctioning.

- The Safety officer will be notified that servicing or maintenance is needed on the machinery or equipment. The Safety Officer will list the piece of equipment on the Maintenance/Repair Log.  The log shall contain the name of the piece of equipment, where it is located, the date of notification that service/repair is needed, a brief description of the problem, and, once repaired/serviced, the date when the equipment went back into service (or if replaced, the date of replacement).

- A staff member, upon observing machinery or a piece of equipment which is locked out to perform servicing or maintenance, shall not attempt to start, energize, or use that machinery or equipment.

- When the servicing or maintenance is completed and the machinery or equipment is ready for use, the Safety Officer will notify affected staff that the machinery or equipment is ready for use.

- Designated staff will remove the lock-out device and re-energize the machinery or equipment as needed.

EVALUATION:

- The policy will be evaluated, reviewed and revised, if needed, annually (every twelve months or once a year test plus or minus thirty days) by the Safety Officer and submitted to the Clinical Committee for approval.

RELATED POLICIES/FORMS:

Equipment Management Plan

Maintenance/Repair Log

Maintenance/Repair Request Form