# POLICY:    SAFE MEDICAL DEVICE ACT REPORTING/RECALL PROCEDURE

DEFINITION:

- Medical device – an instrument, apparatus, contrivance, implant including any component, part or accessory, that is:

- Intended for use in the diagnosis of disease or other conditions, or in the cure, 	mitigation, treatment, or prevention of disease, or;

- Intended to affect the structure or any function of the body and which does not achieve

its primary intended purposes through chemical action within or on the body and which is not dependent upon being metabolized for the achievement of its principal purpose.

- Examples of medical devices include consumer restraints, wheelchairs, and syringes/ 	needles.

PROCEDURES:

SAFE MEDICAL DEVISE REPORTING

- The Quality Manager will be responsible for overseeing an investigation and reporting of any incident that reasonably suggests that a medical device or medication has caused or contributed to the death of a consumer, staff, or visitor, or has caused a serious injury or illness of a consumer, staff or visitor.

- The Quality Manager will report any such occurrence to the manufacturer on the Medical Device Reporting form.  If the manufacturer cannot be determined, then the report goes to the Federal Drug Administration (FDA).

- Reports must be submitted within ten (10) working days of the organization becoming aware of the incident.  FDA Form 3500A is available online; sections A-F should be completed.  Obtain forms and booklet reviewing instructions for completing the form from the Quality Manager.

- Staff shall preserve the suspected medical device.  The Safety Officer shall remove the medical device and impound it.  Place or cover with a plastic bag to preserve the evidence.  The medical device shall be inspected and a report submitted to the CEO by the Safety Officer.

PRODUCT RECALL

- All product recall notices from the manufacturer are to be sent to the Safety Officer.  The Safety Officer will immediately notify all appropriate parties, determine the need to remove the product from use and arrange for a replacement, if necessary.  Replacement must be approved by CEO.

- The recalled product will be returned to manufacturer, if requested.

- If necessary, the product will be replaced with another comparable product, if approved by the CEO.

EVALUATION:

- The Safety officer will review and revise if necessary annually (once a year every twelve months plus or minus thirty days) or as needed when circumstances changes. The revised plan and plan evaluation will be submitted to the Clinical Committee for approval.

RELATED FORMS/POLICIES:

Product Recall Notices

Incident Report Form

Incident Report Policy