# POLICY:		UTILITY MANAGEMENT PLAN

Quality Behavioral Health, Inc. (QBH) strives to provide for proper utility management during normal usage and emergency situations for all programs. Utilities being used by this Organization include electricity, water, sewer, and communication systems. Phones are the direct responsibility of the Organization. All other utilities, with the exception of the outside utilities, are the responsibility of the Organization. D.T.E/ Consumer Energy 1-800-477-4747 manages the utilities for QBH. A comfortable and safe environment is considered to be necessary for all of QBH’s facilities in order to provide services.

PROCEDURES:

OBJECTIVES

- To properly identify any critical components that, if not functioning, can produce unsafe consumer and/or staff environment or condition.

- Provide training for staff on how to handle malfunctions of utilities.

- To establish inspection and preventive maintenance schedules (monthly).

## MITIGATION

- Training:

- Staff will receive training on the Utility Management Plan at orientation and annually.

- Appropriate staff will receive training on location and how to shut off utilities in the event of an emergency.

PREPAREDNESS

- Inspections and preventive maintenance:

- The Safety Officer will schedule and record maintenance and repairs in the Utility Maintenance Log. Scheduled predictive maintenance and interval-based inspections will occur based upon historical Organization trends, public service Organization or manufacturer recommendations, and/or during scheduled environmental safety tours. If maintenance is part of the contract of a leased building, the contract shall allow for a copy of these documents to be available to QBH.

- All battery-powered lighting required for egress will be tested every month for 30 seconds and annually for 1.5 hours.

- The logs will be reviewed at least annually by the Safety Officer to identify any trends or patterns that may indicate the need for improvement or problem solving. Results will be reported to the Clinical Committee (CC).

- All utility shutoffs will be identified as appropriate and posted on evacuation maps.

- The Safety Officer is responsible for flashlights, including monthly testing and replacing of batteries as necessary.

- The Safety Officer will notify all staff members of the locations of all flashlights at their work areas.

RESPONSE

- In the event of electrical failure:

- Staff will get flashlights from the Safety Officer or the known storage location(s). Remember, building exit signs will be illuminated for approximately 1-1/2 hours only.

- Staff will:

- Calm all consumers and visitors.

- Bring all staff, consumers, and visitors to one location at QBH, if appropriate.

- Never leave consumers alone, unless unavoidable.

- Report all behavioral problems immediately to CEO or Designee or Medical Director.

- Turn off all computers to avoid possible damage caused by the power surge.

- The Safety Officer or designee will:

- Contact ____, maintenance, or the building management company, if applicable, and explain the situation.

- Request an estimate be given as soon as possible on when power will be returned.

- Give information collected to the CEO.

- The Safety Officer, or designee, is responsible for any refrigerated medications or laboratory specimens, when applicable. An ice chest may need to be obtained.

- In the event of water or gas failure or malfunction:

  - Staff that becomes aware of the situation should immediately initiate turn off of the water or gas at the appropriate location(s).

  - The Safety Officer, or designee, is to notify the water or gas company of the problem. (See appendix A for utility company information).

  - If a gas leak is occurring, evacuation should be initiated immediately. (See section on evacuation in Emergency Preparedness Plan.)

  - The Safety Officer will:

- Contact maintenance or  the Building Management Company, if appropriate, and explain the situation.

- Request an estimate be given as soon as possible on when services will be returned.

- Give information collected to the CEO.

- The CEO or designee will:

- Determine actions needed.

- Determine if evacuation or dismissal of consumers will occur. (See evacuation section in Emergency Preparedness Plan for sequence of events.)

- Determine if scheduled consumers need to be contacted to cancel appointments. If so, the appointment person will be instructed to do so.

- In the event of phone failure or malfunctions:

  - Staff is to notify the CEO or designee of the problem.

  - The CEO or designee will:

- Contact the phone provider for landlines or the appropriate cell phone company and explain the problem.

- Request an estimate of when service will be restored.

- Give information collected to the appropriate supervisor.

- Get replacement cell phones for staff, if needed.

## RECOVERY

- Electrical:

- After electrical failure is resolved, the Safety Officer or designee will:

- Check all computers for problems.

- Check all rooms for potential fire and/or smoke.

- Report any electrical/electronic equipment problems to the CEO or designee.

- All light fixtures and bulbs will be monitored to ascertain that they are working and will be replaced as necessary.

- Water and Gas

- After services are resumed, the CEO or designee will:

- Provide for adequate air ventilation to rid the facility of the gas fumes.

- Notify all staff of restored services.

- Direct appropriate staff to notify and reschedule consumers.

RESPONSIBILITIES AND REPORTING

- The Safety Officer is responsible for the implementation of the plan, investigating problems and/or user errors, follow-up to see that problems are resolved, and reporting to the CC.

PLAN EVALUATION:

- The Safety Officer will complete a plan evaluation annually (once a year, every twelve months plus or minus thirty days). The evaluation will include appropriateness of the defined scope, whether objectives were achieved, performance data, the effectiveness of the plan in reducing/preventing risks and events, and any changes in regulatory and accreditation requirements.

- The plan will be evaluated and reviewed annually (once a year, every twelve months plus or minus thirty days) by the Safety Officer and revised as necessary. This will be resubmitted to the CC and Governing Board as scheduled.

- Performance monitoring has been developed to assess compliance with the plan.

PERFORMANCE STANDARDS:

- 100% of Staff will be annually tested on the knowledge of Environment of Care which will cover the Utilities Management Plan.

- Staff will demonstrate knowledge of their roles and responsibilities as evidenced by post-tests with at least 90% compliance at hire and annually (once a year, every twelve months plus or minus thirty days).

RELATED FORMS/POLICIES:

Emergency Preparedness Plan

Incident Report Form

Inspection and Testing Form

Approved:

________________________________________	___________________________

Governing Board Chair					Date

________________________________________	___________________________

Clinical Committee Chair				Date

________________________________________	___________________________

Safety Officer						Date

NEED TO FILL IN NAME AND CONTACT INFORMATION FOR ALL UTILITIES